## Summary per sections
Model/PN | Description | NVIDIA Generic Part number | Dell PN | Category | Section | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_DH_GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | PNL-NETWORK BOM-2026-09-23-Anthropic-Australia_Q1_Q2-21k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-23-Anthropic-Canada_Q2-32k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-24-Anthropic-US-Q1-Q2-Cluster1-129k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-24-Anthropic-US-Q1-Q2-Cluster2-129k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-25-Anthropic-US_Q1_Q2-Cluster3-9k GPUs VR NVL72.xlsx | NScale - NETWORK BOM - Narvik-8k-6810.xlsx | NScale - NETWORK BOM - Narvik-8k.xlsx | NScale - NETWORK BOM - Narvik-17k.xlsx | NScale - NETWORK BOM - US-TBD-18k.xlsx | Total Quantity
Customer | [5 empty] | IREN | IREN | IREN | IREN | IREN | IREN | IREN | IREN | IREN | Anthropic | Anthropic | Anthropic | Anthropic | Anthropic | NScale | NScale | NScale | NScale
Location | [5 empty] | Childress, Tx | Childress, Tx | Prince George | Sweetwater | Sweetwater | Childress, Tx | Childress, Tx | Childress, Tx | Childress, Tx | Australia | Canada | US-Cluster1 | US-Cluster2 | US-Cluster3 | Narvik-8k-6810 | Narvik-8k | Narvik-17k | US-TBD-18k
# of Bldg
Focus ID
SFDC ID
Target Start Date
Target End Date
470-ABGH | CBL-MPO12-4LC-SM-5M |  |  | Cables | N-S Networking | 92 | 0 | 0 | 16 | 360 | 32 | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00F1-0C0 | NVDA SN2201 48x1GBaseT, 1U, 2AC PSU, P2C (P/I) Airflow, w/ Cumulus[MSN2201-CB2FC] | 920-9N110-00F1-0C0 | FTV62 | Switch | OOB Networking | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00R1- 0C0 | NVDA SN2201 48x1GBaseT, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN2201-CB2RC] | 920-9N110-00R1-0C0 | TX78X | Switch | OOB Networking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205 | 198 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00R1-NC0 | SN2201 48x1G + 4x100G, DC Busbar Air Cooled | 920-9N110-00R1-NC0 | J2MV9 | Switch | OOB Networking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 116 | 160 | 764 | 764 | 52 |  |  |  |  | 0
920-9N110-01R1-NC0 (DPN: J2MV9) | NVDA SN2201 48x1G (BT), 2AC PSU, C2P (I/P) Airflow, w/ BusBar, w/ Cumulus[MSN2201-CSMRC] | 920-9N110-00R1-NC0 | J2MV9 | Switch | OOB Networking | 0 | 0 | 8 | 21 | 92 | 28 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 628
920-9N301-00RB-0C0 | NVDA SN4700 400GbE, 32xQSFPDD, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN4700-WS2RC] | 920-9N301-00RB-0C0 | 7F0JN | Switch | E-W Networking | 2 | 4 | 1 | 0 | 0 | 0 | 0 | 4 | 4 | 6 | 6 | 8 | 8 | 6 |  |  |  |  | 4
920-9N301-00RB-NC0 | SN4700D, Spectrum-3 based 400GbE 1U Open Ethernet Switch, 32 QSFPDD ports, 48VDC Busbar, x86 CPU, standard depth, C2P airflow, Rail Kit, with Cumulus | 920-9N301-00RB-NC0 |  | Switch | E-W Networking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 64 | 256 | 256 | 18 |  |  |  |  | 403
920-9N42F-00RI-3C1 | NVDA SN5610 2U 64xOSFP112, 4xAC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN5610???] | 920-9N42F-00RI-3C1 | 52MJM | Switch | N-S Networking | 46 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 1856
920-9N42F-00RI-KC0 | NVDA SN5600D 2U 64xOSFP112, DC BusBar, C2P (I/P) Airflow, w/ Cumulus[MSN5600D???] | 920-9N42F-00RI-KC0 | CTT0V | Switch | N-S Networking | 0 | 0 | 0 | 70 | 338 | 94 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 224
920-9N62F-00LI-GC1 | SN6600-LD - NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit. | 920-9N62F-00LI-GC1 | 3KF5K | Switch | N-S Networking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1176 | 1528 | 6112 | 6112 | 544 |  |  |  |  | 49
980-9I042-00C000 | NVDA XCVR, 100GbE, QSFP28, LC, 1310nm, Single Mode 1-lane (DR1), IP[MMS1V70-CM] | 980-9I042-00C000 | 8XTGF | Transceiver | N-S Networking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1502 | 2250 | 9222 | 9222 | 654 |  |  |  |  | 636
980-9I16Y-00W000 | NVDA 400G to 4x100, QSFD-DD,MPO,1310nm SMF, up to 500m, DR4 [MMS1V00-WM] | 980-9I16Y-00W000 | NRW8Y | Transceiver | N-S Networking | 48 | 32 | 24 | 0 | 0 | 0 | 0 | 16 | 16 | 67 | 89 | 2183 | 2183 | 152 |  |  |  |  | 484
980-9I30G-F4NM00 | NVDA twin port XCVR, 800GbE,2x400,IPonly,O112,2xMPO12 APC,1310N SMF,to 500m,finned HIS[MMS4X00-NM-T] | 980-9I30G-F4NM00 | YW1C0 | Transceiver | N-S Networking | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 792 | 840 | 16 | 21 | 70 | 70 | 10 |  |  |  |  | 782
980-9IAJ0-00XM00 | NVIDIA twin port XCVR, 2xDR4,1600Gbps,OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, IP Only | 980-9IAJ0-00XM00 | M5G88 | Transceiver | N-S Networking | 0 | 0 | 288 | 0 | 54432 | 15120 | 30240 | 0 | 0 | 84672 | 129024 | 516096 | 516096 | 27360 |  |  |  |  | 15472
A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine |  |  | Cables | OOB Networking | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 22850
Aircool AC Rack |  | Aircool AC Rack |  | Other | Scale Out Networking | [14 empty] | 28 | 28 | 50 | 32 | 4810
C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver |  |  | Transceiver | E-W Networking | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 188 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1839
CAT6 Thin 10M |  | CAT6 Thin 10M |  | Other | Scale Out Networking | [14 empty] | 4048 | 4048 | 8510 | 5198 | 1373328
CAT6 Thin 3M |  | CAT6 Thin 3M |  | Other | Scale Out Networking | [14 empty] | 10304 | 10304 | 21896 | 11592 | 12
Cat 6 Cable | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39 |  |  | Cables | N-S Networking | 0 | 0 | 32 | 0 | 864 | 256 | 480 | 242 | 234 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 106
Corning 4x100 Breakout PP | Final Count will come from Actual BOM |  |  | Transceiver | N-S Networking | 0 | 0 | 0 | 0 | 24 | 8 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 364
D3P20 | MOD,CBL,MPO12-APC,SMF,5M |  |  | Cables | N-S Networking | 12 | 24 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 16606
DLC DC Rack |  | DLC DC Rack |  | Other | Scale Out Networking | [14 empty] | 48 | 24 | 52 | 36 | 42504
EDGE-03U-8B2X2G | 3U EDGE Shuffling Housing, Holds 8_2x2 Type B Modules for 128 input x 128 output ports |  |  | Rack | Patch Panels / Shuffle Components | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2108
Fiber Jumper Cable |  |  |  | Cables | N-S Networking | 0 | 0 | 0 | 0 | 72576 | 0 | 30240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 56
Fiber Jumper cables | Jumper cables from shiuffle box to leaf |  |  | Cables | N-S Networking | 0 | 0 | 576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 52
Fiber panel T1-NtwkRack |  | Fiber panel T1-NtwkRack |  | Rack | Scale Out Networking | [14 empty] | 256 |  |  |  | 124
Fiber panel per T1-NtwkRack |  | Fiber panel per T1-NtwkRack |  | Rack | Scale Out Networking | [14 empty] | 8 |  |  |  | 16
Fiber shuffle cassette |  | Fiber shuffle cassette |  | Rack | Scale Out Networking | [14 empty] | 4032 |  |  |  | 102816
Fiber shuffle cassette per T1-NtwkRack |  | Fiber shuffle cassette per T1-NtwkRack |  | Rack | Scale Out Networking | [14 empty] | 126 |  |  |  | 576
FiberPanel | 2U Panel | FiberPanel |  | Rack | Patch Panels / Shuffle Components | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3584 | 3584 | 0 |  |  |  |  | 256
FiberPanel - 2U | One Patch Panel to rack where SN4700 is installed since 4x100G cable length max size is 5m |  |  | Cables | Patch Panels / Shuffle Components | 0 | 4 | 4 | 4 | 512 | 0 | 240 | 0 | 4 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 8
Fibre Shuffle Cassettes | Cassette /SU for Leaf Rack GPU to Leaf [Hosted in Leaf rack] - - MPO-8 4x4 Shuffle Module, 4x8f MPO/APC pinned rear to 4X8f MPO/APC pinned front | Fibre Shuffle Cassettes |  | Rack | Patch Panels / Shuffle Components | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10584 | 16128 | 129024 | 129024 | 4536 |  |  |  |  | 4032
GEDEDU8GPN-008-U030M | 288f Trunk, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity, 8' leg length |  |  | Rack | Racks, PDUs and CDUs | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 126
IR5000 | IR5000/750mm |  |  | Rack | Racks, PDUs and CDUs | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 7168
IR9048 | 750mm x 1200mm/ 48RU |  |  | Rack | Racks, PDUs and CDUs | 4 | 0 | 0 | 11 | 36 | 13 | 30 | 0 | 0 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 768
IR9148 | 750mm x 1200mm/ 48RU |  |  | Rack | Racks, PDUs and CDUs | 0 | 2 | 0 | 0 | 0 | 32 | 0 | 2 | 2 | 116 | 160 | 764 | 764 | 52 |  |  |  |  | 289296
IR9149 | IR9000/750mmx1200mm/48U |  |  | Rack | Racks, PDUs and CDUs | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 64
J6TD3 | CBL-MPO12-4LC-SM-5M |  |  | Cables | N-S Networking | 24 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1
JEDED08GE8-NB003M | 8f Jumper, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity |  |  | Rack | Racks, PDUs and CDUs | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 99
LC QSFP28-100G-DR1 |  | LC QSFP28-100G-DR1 |  | Other | Scale Out Networking | [14 empty] | 678 | 678 | 1412 | 788 | 1894
MFP7E10-N05 | (MPO‑12) multimode fiber cable Type‑B |  |  | Cables | N-S Networking | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 40
MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4 |  |  | Cables | N-S Networking | 0 | 0 | 0 | 992 | 0 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 30
MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter |  |  | Cables | N-S Networking | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2048
MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M |  |  | Cables | N-S Networking | 0 | 0 | 8 | 24 | 88 | 208 | 7640 | 8 | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2768
MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M |  |  | Cables | N-S Networking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216 | 1120 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 12
MMA4Z00-NS | NVDA XCVR, 800Gbps,2xNDR, OSFP, 2xMPO12 APC, 850nm MMF, up to 50m, finned[MMA4Z00-NS] | 980-9I510-00NS00 | 70HK1 | Transceiver | N-S Networking | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2480
MMA4Z00-NS-FLT | NVDA twin port XCVR,800GbE,2x400,IPonly,O112, 2xMPO12 APC,850nm MMF,to 50m,flat top RHS[MMA4Z00-NS-FLT ] | 980-9I51A-00NS00 | N72T0 | Transceiver | N-S Networking | 0 | 0 | 0 | 496 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 176
MMA4Z00‑NS | NVDA XCVR, 800Gbps,2xNDR, OSFP, 2xMPO12 APC, 850nm MMF, up to 50m, finned[MMA4Z00-NS] | 980-9I510-00NS00 | 70HK1 | Transceiver | N-S Networking | 0 | 0 | 0 | 496 | 0 | 744 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 7984
MMA4Z00‑NS-T | NVDA twin port XCVR, 800GbE, 2x400, IPonly,O112, 2xMPO12 APC,850nm MMF,to 50m, finned[MMA4Z00-NS-T] | 980-9I510-F4NS00 | YWX59 | Transceiver | N-S Networking | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2336
MMC12/APC SMF |  | MMC12/APC SMF |  | Cables | Scale Out Networking | [14 empty] | 16384 | 16384 | 34272 | 18144 | 12
MMS1V70-CM | NVDA XCVR, 100GbE, QSFP28, LC, 1310nm, Single Mode 1-lane (DR1), IP[MMS1V70-CM] | 980-9I042-00C000 | 8XTGF | Transceiver | E-W Networking | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1240
MMS1X00-NS400 | NVDA XCVR400GbE, QSFP112, MPO12 APC, R4, SMF, p to 500m, Flattop (MMS1X00-NS400) | 980-9I068-00NM00 | 6YVDP | Transceiver | N-S Networking | 64 | 0 | 0 | 64 | 8712 | 64 | 7260 | 640 | 192 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1334
MMS1X00-NS400 - 6YVDP | NVDA XCVR400GbE, QSFP112, MPO12 APC, R4, SMF, p to 500m, Flattop (MMS1X00-NS400) | 980-9I068-00NM00 | 6YVDP | Transceiver | N-S Networking | 192 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 88
MMS4X00-NM-T | NVDA twin port XCVR, 800GbE,2x400,IPonly,O112,2xMPO12 APC,1310N SMF,to 500m,finned HIS[MMS4X00-NM-T] | 980-9I30G-F4NM00 | YW1C0 | Transceiver | N-S Networking | 1240 | 360 | 0 | 1024 | 2524 | 2320 | 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 67040
MPO OSFP112-800G-2x400G-2DR4 Twin |  | MPO OSFP112-800G-2x400G-2DR4 Twin |  | Transceiver | Scale Out Networking | [14 empty] | 3148 | 3148 | 11464 | 6460 | 24
MPO OSFP224-1600G-2x800G-2DR4 Twin RHS |  | MPO OSFP224-1600G-2x800G-2DR4 Twin RHS |  | Transceiver | Scale Out Networking | [14 empty] | 8064 | 8064 | 17136 | 9072 | 16996
MPO QSFP112-400G-DR4 |  | MPO QSFP112-400G-DR4 |  | Cables | Scale Out Networking | [14 empty] | 4092 | 4092 | 8628 | 4760 | 384
MPO QSFP56DD-400G-DR4 |  | MPO QSFP56DD-400G-DR4 |  | Cables | Scale Out Networking | [14 empty] | 200 | 200 | 398 | 230 | 9514
MPO12/APC SMF |  | MPO12/APC SMF |  | Cables | Scale Out Networking | [14 empty] | 5164 | 5164 | 15748 | 8468 | 17760
MPO12/APC SMF Jumper |  | MPO12/APC SMF Jumper |  | Cables | Scale Out Networking | [14 empty] | 16128 |  |  |  | 33264
MPO12/APC-2MPO12/APC SMF |  | MPO12/APC-2MPO12/APC SMF |  | Cables | Scale Out Networking | [14 empty] | 30 | 30 | 30 | 112 | 16812
MPO12/APC-4LC SMF |  | MPO12/APC-4LC SMF |  | Cables | Scale Out Networking | [14 empty] | 184 | 184 | 382 | 214 | 798
MPO12/APC-MMC12/APC SMF |  | MPO12/APC-MMC12/APC SMF |  | Cables | Scale Out Networking | [14 empty] | 16128 | 16128 | 34272 | 18144 | 26076
NFM93 | MOD,CBL,MPO12-2MPO4,SMF,30M |  |  | Cables | N-S Networking | 96 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 16128
PDU |  | PDU |  | Other | Scale Out Networking | [14 empty] | 56 | 56 | 100 | 64 | 90
PDU 3Ph, 415V, 60A | 3PH, 415V, 60A, 560P6, 42 Outlet |  |  | Rack | Racks, PDUs and CDUs | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 750
PDU per Aircool AC Rack |  | PDU per Aircool AC Rack |  | Other | Scale Out Networking | [14 empty] | 2 | 2 | 2 | 2 | 66528
PS |  | PS |  | Other | Scale Out Networking | [14 empty] | 192 | 96 | 208 | 144 | 288
PS per DLC DC Rack |  | PS per DLC DC Rack |  | Other | Scale Out Networking | [14 empty] | 4 | 4 | 4 | 4 | 212
SN2201 , 1U , C2P | 48 × RJ45 10/100/1000BASE‑T ports PLUS 4 × QSFP28 ports (can be used as 4×100 GbE, or broken out to lower speeds like 4×25 GbE, etc.) |  |  | Cables | OOB Networking | 20 | 195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2
SN2201 AC |  | SN2201 AC |  | Other | Scale Out Networking | [14 empty] | 90 | 90 | 187 | 115 | 6
SN4700 |  | SN4700 |  | Other | Scale Out Networking | [14 empty] | 24 | 24 | 42 | 26 | 496
SN5610 |  | SN5610 |  | Other | Scale Out Networking | [14 empty] | 86 | 86 | 230 | 134 | 12
SN6800-LD |  | SN6800-LD |  | Switch | Scale Out Networking | [15 empty] | 96 | 208 | 144 | 215
SN6810-LD |  | SN6810-LD |  | Switch | Scale Out Networking | [14 empty] | 384 |  |  |  | 367
Shuffle 4x4 units | CommScope |  |  | Rack | Patch Panels / Shuffle Components | 0 | 0 | 144 | 0 | 18288 | 0 | 7560 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 90
T1-NtwkRack |  | T1-NtwkRack |  | Other | Scale Out Networking | [14 empty] | 32 |  |  |  | 402

## Summary Total
Model/PN | Description | NVIDIA Generic Part number | Dell PN | Category | Section | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_DH_GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | PNL-NETWORK BOM-2026-09-23-Anthropic-Australia_Q1_Q2-21k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-23-Anthropic-Canada_Q2-32k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-24-Anthropic-US-Q1-Q2-Cluster1-129k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-24-Anthropic-US-Q1-Q2-Cluster2-129k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-25-Anthropic-US_Q1_Q2-Cluster3-9k GPUs VR NVL72.xlsx | NScale - NETWORK BOM - Narvik-8k-6810.xlsx | NScale - NETWORK BOM - Narvik-8k-6810.xlsx | NScale - NETWORK BOM - Narvik-8k.xlsx | NScale - NETWORK BOM - Narvik-17k.xlsx | NScale - NETWORK BOM - US-TBD-18k.xlsx
Customer | [5 empty] | IREN | IREN | IREN | IREN | IREN | IREN | IREN | IREN | IREN | Anthropic | Anthropic | Anthropic | Anthropic | Anthropic | NScale | NScale | NScale | NScale | NScale
Location | [5 empty] | Childress, Tx | Childress, Tx | Prince George | Sweetwater | Sweetwater | Childress, Tx | Childress, Tx | Childress, Tx | Childress, Tx | Australia | Canada | US-Cluster1 | US-Cluster2 | US-Cluster3 | Narvik-8k-6810 | Narvik-8k-6810 | Narvik-8k | Narvik-17k | US-TBD-18k
# of Bldg
Focus ID
SFDC ID
Target Start Date
Target End Date
470-ABGH | CBL-MPO12-4LC-SM-5M |  |  | Cables |  | 92 | 0 | 0 | 16 | 360 | 32 | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00F1-0C0 | NVDA SN2201 48x1GBaseT, 1U, 2AC PSU, P2C (P/I) Airflow, w/ Cumulus[MSN2201-CB2FC] | 920-9N110-00F1-0C0 | FTV62 | Switch |  | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00R1- 0C0 | NVDA SN2201 48x1GBaseT, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN2201-CB2RC] | 920-9N110-00R1-0C0 | TX78X | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205 | 198 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00R1-NC0 | SN2201 48x1G + 4x100G, DC Busbar Air Cooled | 920-9N110-00R1-NC0 | J2MV9 | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 116 | 160 | 764 | 764 | 52 |  |  |  |  | 0
920-9N110-01R1-NC0 (DPN: J2MV9) | NVDA SN2201 48x1G (BT), 2AC PSU, C2P (I/P) Airflow, w/ BusBar, w/ Cumulus[MSN2201-CSMRC] | 920-9N110-00R1-NC0 | J2MV9 | Switch |  | 0 | 0 | 8 | 21 | 92 | 28 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 628
920-9N301-00RB-0C0 | NVDA SN4700 400GbE, 32xQSFPDD, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN4700-WS2RC] | 920-9N301-00RB-0C0 | 7F0JN | Switch |  | 2 | 4 | 1 | 0 | 0 | 0 | 0 | 4 | 4 | 6 | 6 | 8 | 8 | 6 |  |  |  |  | 4
920-9N301-00RB-NC0 | SN4700D, Spectrum-3 based 400GbE 1U Open Ethernet Switch, 32 QSFPDD ports, 48VDC Busbar, x86 CPU, standard depth, C2P airflow, Rail Kit, with Cumulus | 920-9N301-00RB-NC0 |  | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 64 | 256 | 256 | 18 |  |  |  |  | 403
920-9N42F-00RI-3C1 | NVDA SN5610 2U 64xOSFP112, 4xAC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN5610???] | 920-9N42F-00RI-3C1 | 52MJM | Switch |  | 46 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 1856
920-9N42F-00RI-KC0 | NVDA SN5600D 2U 64xOSFP112, DC BusBar, C2P (I/P) Airflow, w/ Cumulus[MSN5600D???] | 920-9N42F-00RI-KC0 | CTT0V | Switch |  | 0 | 0 | 0 | 70 | 338 | 94 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 224
920-9N62F-00LI-GC1 | SN6600-LD - NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit. | 920-9N62F-00LI-GC1 | 3KF5K | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1176 | 1528 | 6112 | 6112 | 544 |  |  |  |  | 49
980-9I042-00C000 | NVDA XCVR, 100GbE, QSFP28, LC, 1310nm, Single Mode 1-lane (DR1), IP[MMS1V70-CM] | 980-9I042-00C000 | 8XTGF | Transceiver |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1502 | 2250 | 9222 | 9222 | 654 |  |  |  |  | 636
980-9I16Y-00W000 | NVDA 400G to 4x100, QSFD-DD,MPO,1310nm SMF, up to 500m, DR4 [MMS1V00-WM] | 980-9I16Y-00W000 | NRW8Y | Transceiver |  | 48 | 32 | 24 | 0 | 0 | 0 | 0 | 16 | 16 | 67 | 89 | 2183 | 2183 | 152 |  |  |  |  | 484
980-9I30G-F4NM00 | NVDA twin port XCVR, 800GbE,2x400,IPonly,O112,2xMPO12 APC,1310N SMF,to 500m,finned HIS[MMS4X00-NM-T] | 980-9I30G-F4NM00 | YW1C0 | Transceiver |  | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 792 | 840 | 16 | 21 | 70 | 70 | 10 |  |  |  |  | 782
980-9IAJ0-00XM00 | NVIDIA twin port XCVR, 2xDR4,1600Gbps,OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, IP Only | 980-9IAJ0-00XM00 | M5G88 | Transceiver |  | 0 | 0 | 288 | 0 | 54432 | 15120 | 30240 | 0 | 0 | 84672 | 129024 | 516096 | 516096 | 27360 |  |  |  |  | 15472
A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine |  |  | Cables |  | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 22850
Aircool AC Rack |  | Aircool AC Rack |  | Other | [15 empty] | 28 | 28 | 50 | 32 | 4810
C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver |  |  | Transceiver |  | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 188 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1839
CAT6 Thin 10M |  | CAT6 Thin 10M |  | Other | [15 empty] | 4048 | 4048 | 8510 | 5198 | 1373328
CAT6 Thin 3M |  | CAT6 Thin 3M |  | Other | [15 empty] | 10304 | 10304 | 21896 | 11592 | 12
Cat 6 Cable | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39 |  |  | Cables |  | 0 | 0 | 32 | 0 | 864 | 256 | 480 | 242 | 234 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 106
Corning 4x100 Breakout PP | Final Count will come from Actual BOM |  |  | Transceiver |  | 0 | 0 | 0 | 0 | 24 | 8 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 364
D3P20 | MOD,CBL,MPO12-APC,SMF,5M |  |  | Cables |  | 12 | 24 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 16606
DLC DC Rack |  | DLC DC Rack |  | Other | [15 empty] | 48 | 24 | 52 | 36 | 42504
EDGE-03U-8B2X2G | 3U EDGE Shuffling Housing, Holds 8_2x2 Type B Modules for 128 input x 128 output ports |  |  | Rack |  | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2108
Fiber Jumper Cable |  |  |  | Cables |  | 0 | 0 | 0 | 0 | 72576 | 0 | 30240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 56
Fiber Jumper cables | Jumper cables from shiuffle box to leaf |  |  | Cables |  | 0 | 0 | 576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 52
Fiber panel T1-NtwkRack |  | Fiber panel T1-NtwkRack |  | Rack | [15 empty] | 256 |  |  |  | 124
Fiber panel per T1-NtwkRack |  | Fiber panel per T1-NtwkRack |  | Rack | [15 empty] | 8 |  |  |  | 16
Fiber shuffle cassette |  | Fiber shuffle cassette |  | Rack | [15 empty] | 4032 |  |  |  | 102816
Fiber shuffle cassette per T1-NtwkRack |  | Fiber shuffle cassette per T1-NtwkRack |  | Rack | [15 empty] | 126 |  |  |  | 576
FiberPanel | 2U Panel | FiberPanel |  | Rack |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3584 | 3584 | 0 |  |  |  |  | 256
FiberPanel - 2U | One Patch Panel to rack where SN4700 is installed since 4x100G cable length max size is 5m |  |  | Cables |  | 0 | 4 | 4 | 4 | 512 | 0 | 240 | 0 | 4 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 8
Fibre Shuffle Cassettes | Cassette /SU for Leaf Rack GPU to Leaf [Hosted in Leaf rack] - - MPO-8 4x4 Shuffle Module, 4x8f MPO/APC pinned rear to 4X8f MPO/APC pinned front | Fibre Shuffle Cassettes |  | Rack |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10584 | 16128 | 129024 | 129024 | 4536 |  |  |  |  | 4032
GEDEDU8GPN-008-U030M | 288f Trunk, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity, 8' leg length |  |  | Rack |  | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 126
IR5000 | IR5000/750mm |  |  | Rack |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 7168
IR9048 | 750mm x 1200mm/ 48RU |  |  | Rack |  | 4 | 0 | 0 | 11 | 36 | 13 | 30 | 0 | 0 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 768
IR9148 | 750mm x 1200mm/ 48RU |  |  | Rack |  | 0 | 2 | 0 | 0 | 0 | 32 | 0 | 2 | 2 | 116 | 160 | 764 | 764 | 52 |  |  |  |  | 289296
IR9149 | IR9000/750mmx1200mm/48U |  |  | Rack |  | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 64
J6TD3 | CBL-MPO12-4LC-SM-5M |  |  | Cables |  | 24 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1
JEDED08GE8-NB003M | 8f Jumper, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity |  |  | Rack |  | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 99
LC QSFP28-100G-DR1 |  | LC QSFP28-100G-DR1 |  | Other | [15 empty] | 678 | 678 | 1412 | 788 | 1894
MFP7E10-N05 | (MPO‑12) multimode fiber cable Type‑B |  |  | Cables |  | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 40
MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4 |  |  | Cables |  | 0 | 0 | 0 | 992 | 0 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 30
MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter |  |  | Cables |  | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2048
MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M |  |  | Cables |  | 0 | 0 | 8 | 24 | 88 | 208 | 7640 | 8 | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2768
MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M |  |  | Cables |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216 | 1120 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 12
MMA4Z00-NS | NVDA XCVR, 800Gbps,2xNDR, OSFP, 2xMPO12 APC, 850nm MMF, up to 50m, finned[MMA4Z00-NS] | 980-9I510-00NS00 | 70HK1 | Transceiver |  | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2480
MMA4Z00-NS-FLT | NVDA twin port XCVR,800GbE,2x400,IPonly,O112, 2xMPO12 APC,850nm MMF,to 50m,flat top RHS[MMA4Z00-NS-FLT ] | 980-9I51A-00NS00 | N72T0 | Transceiver |  | 0 | 0 | 0 | 496 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 176
MMA4Z00‑NS | NVDA XCVR, 800Gbps,2xNDR, OSFP, 2xMPO12 APC, 850nm MMF, up to 50m, finned[MMA4Z00-NS] | 980-9I510-00NS00 | 70HK1 | Transceiver |  | 0 | 0 | 0 | 496 | 0 | 744 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 7984
MMA4Z00‑NS-T | NVDA twin port XCVR, 800GbE, 2x400, IPonly,O112, 2xMPO12 APC,850nm MMF,to 50m, finned[MMA4Z00-NS-T] | 980-9I510-F4NS00 | YWX59 | Transceiver |  | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2336
MMC12/APC SMF |  | MMC12/APC SMF |  | Cables | [15 empty] | 16384 | 16384 | 34272 | 18144 | 12
MMS1V70-CM | NVDA XCVR, 100GbE, QSFP28, LC, 1310nm, Single Mode 1-lane (DR1), IP[MMS1V70-CM] | 980-9I042-00C000 | 8XTGF | Transceiver |  | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1240
MMS1X00-NS400 | NVDA XCVR400GbE, QSFP112, MPO12 APC, R4, SMF, p to 500m, Flattop (MMS1X00-NS400) | 980-9I068-00NM00 | 6YVDP | Transceiver |  | 64 | 0 | 0 | 64 | 8712 | 64 | 7260 | 640 | 192 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1334
MMS1X00-NS400 - 6YVDP | NVDA XCVR400GbE, QSFP112, MPO12 APC, R4, SMF, p to 500m, Flattop (MMS1X00-NS400) | 980-9I068-00NM00 | 6YVDP | Transceiver |  | 192 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 88
MMS4X00-NM-T | NVDA twin port XCVR, 800GbE,2x400,IPonly,O112,2xMPO12 APC,1310N SMF,to 500m,finned HIS[MMS4X00-NM-T] | 980-9I30G-F4NM00 | YW1C0 | Transceiver |  | 1240 | 360 | 0 | 1024 | 2524 | 2320 | 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 67040
MPO OSFP112-800G-2x400G-2DR4 Twin |  | MPO OSFP112-800G-2x400G-2DR4 Twin |  | Transceiver | [15 empty] | 3148 | 3148 | 11464 | 6460 | 24
MPO OSFP224-1600G-2x800G-2DR4 Twin RHS |  | MPO OSFP224-1600G-2x800G-2DR4 Twin RHS |  | Transceiver | [15 empty] | 8064 | 8064 | 17136 | 9072 | 16996
MPO QSFP112-400G-DR4 |  | MPO QSFP112-400G-DR4 |  | Cables | [15 empty] | 4092 | 4092 | 8628 | 4760 | 384
MPO QSFP56DD-400G-DR4 |  | MPO QSFP56DD-400G-DR4 |  | Cables | [15 empty] | 200 | 200 | 398 | 230 | 9514
MPO12/APC SMF |  | MPO12/APC SMF |  | Cables | [15 empty] | 5164 | 5164 | 15748 | 8468 | 17760
MPO12/APC SMF Jumper |  | MPO12/APC SMF Jumper |  | Cables | [15 empty] | 16128 |  |  |  | 33264
MPO12/APC-2MPO12/APC SMF |  | MPO12/APC-2MPO12/APC SMF |  | Cables | [15 empty] | 30 | 30 | 30 | 112 | 16812
MPO12/APC-4LC SMF |  | MPO12/APC-4LC SMF |  | Cables | [15 empty] | 184 | 184 | 382 | 214 | 798
MPO12/APC-MMC12/APC SMF |  | MPO12/APC-MMC12/APC SMF |  | Cables | [15 empty] | 16128 | 16128 | 34272 | 18144 | 26076
NFM93 | MOD,CBL,MPO12-2MPO4,SMF,30M |  |  | Cables |  | 96 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 16128
PDU |  | PDU |  | Other | [15 empty] | 56 | 56 | 100 | 64 | 90
PDU 3Ph, 415V, 60A | 3PH, 415V, 60A, 560P6, 42 Outlet |  |  | Rack |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 750
PDU per Aircool AC Rack |  | PDU per Aircool AC Rack |  | Other | [15 empty] | 2 | 2 | 2 | 2 | 66528
PS |  | PS |  | Other | [15 empty] | 192 | 96 | 208 | 144 | 288
PS per DLC DC Rack |  | PS per DLC DC Rack |  | Other | [15 empty] | 4 | 4 | 4 | 4 | 212
SN2201 , 1U , C2P | 48 × RJ45 10/100/1000BASE‑T ports PLUS 4 × QSFP28 ports (can be used as 4×100 GbE, or broken out to lower speeds like 4×25 GbE, etc.) |  |  | Cables |  | 20 | 195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2
SN2201 AC |  | SN2201 AC |  | Other | [15 empty] | 90 | 90 | 187 | 115 | 6
SN4700 |  | SN4700 |  | Other | [15 empty] | 24 | 24 | 42 | 26 | 496
SN5610 |  | SN5610 |  | Other | [15 empty] | 86 | 86 | 230 | 134 | 12
SN6800-LD |  | SN6800-LD |  | Switch | [16 empty] | 96 | 208 | 144 | 215
SN6810-LD |  | SN6810-LD |  | Switch | [15 empty] | 384 |  |  |  | 367
Shuffle 4x4 units | CommScope |  |  | Rack |  | 0 | 0 | 144 | 0 | 18288 | 0 | 7560 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 90
T1-NtwkRack |  | T1-NtwkRack |  | Other | [15 empty] | 32 |  |  |  | 402

## Summary total comparison
Model/PN | Description | NVIDIA Generic Part number | Dell PN | Category | Section | BOM - NETWORK - 2026-08-24- IREN - 512 Racks -(B300) - Mackenzie - 512 GPU Storage Testing [Locked]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-023 - IREN - 256 Racks - 8192-GPU (B300)_GOLDEN.xlsx | BOM - NETWORK - 2026-09-04- IREN - PS - VR72 4x Test Racks [Quote]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_CORE [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-11- IREN - 50MW 252 Racks - Sweetwater VR NVL72_SN6600-LD_DH [Quoted]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_Core-GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-15- IREN CHLD_HORIZON_210 Racks - VR NVL72_SN6600-LD_DH_GOLDEN [Quoting]_UNLOCKED.xlsx | BOM - NETWORK - 2026-09-23 - IREN - 256 Racks - 8192-GPU (B200).xlsx | BOM - NETWORK - 2026-09-23 - IREN - B4-5 256 Racks - 8192-GPU (B200).xlsx | PNL-NETWORK BOM-2026-09-23-Anthropic-Australia_Q1_Q2-21k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-23-Anthropic-Canada_Q2-32k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-24-Anthropic-US-Q1-Q2-Cluster1-129k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-24-Anthropic-US-Q1-Q2-Cluster2-129k GPUs VR NVL72.xlsx | PNL-NETWORK BOM-2026-09-25-Anthropic-US_Q1_Q2-Cluster3-9k GPUs VR NVL72.xlsx | NScale - NETWORK BOM - Narvik-8k-6810.xlsx | NScale - NETWORK BOM - Narvik-8k-6810.xlsx | NScale - NETWORK BOM - Narvik-8k.xlsx | NScale - NETWORK BOM - Narvik-17k.xlsx | NScale - NETWORK BOM - US-TBD-18k.xlsx
Customer | [5 empty] | IREN | IREN | IREN | IREN | IREN | IREN | IREN | IREN | IREN | Anthropic | Anthropic | Anthropic | Anthropic | Anthropic | NScale | NScale | NScale | NScale | NScale
Location | [5 empty] | Childress, Tx | Childress, Tx | Prince George | Sweetwater | Sweetwater | Childress, Tx | Childress, Tx | Childress, Tx | Childress, Tx | Australia | Canada | US-Cluster1 | US-Cluster2 | US-Cluster3 | Narvik-8k-6810 | Narvik-8k-6810 | Narvik-8k | Narvik-17k | US-TBD-18k
# of Bldg
Focus ID
SFDC ID
Target Start Date
Target End Date
470-ABGH | CBL-MPO12-4LC-SM-5M |  |  | Cables |  | 92 | 0 | 0 | 16 | 360 | 32 | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00F1-0C0 | NVDA SN2201 48x1GBaseT, 1U, 2AC PSU, P2C (P/I) Airflow, w/ Cumulus[MSN2201-CB2FC] | 920-9N110-00F1-0C0 | FTV62 | Switch |  | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00R1- 0C0 | NVDA SN2201 48x1GBaseT, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN2201-CB2RC] | 920-9N110-00R1-0C0 | TX78X | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205 | 198 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
920-9N110-00R1-NC0 | SN2201 48x1G + 4x100G, DC Busbar Air Cooled | 920-9N110-00R1-NC0 | J2MV9 | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 116 | 160 | 764 | 764 | 52 |  |  |  |  | 0
920-9N110-01R1-NC0 (DPN: J2MV9) | NVDA SN2201 48x1G (BT), 2AC PSU, C2P (I/P) Airflow, w/ BusBar, w/ Cumulus[MSN2201-CSMRC] | 920-9N110-00R1-NC0 | J2MV9 | Switch |  | 0 | 0 | 8 | 21 | 92 | 28 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 628
920-9N301-00RB-0C0 | NVDA SN4700 400GbE, 32xQSFPDD, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN4700-WS2RC] | 920-9N301-00RB-0C0 | 7F0JN | Switch |  | 2 | 4 | 1 | 0 | 0 | 0 | 0 | 4 | 4 | 6 | 6 | 8 | 8 | 6 |  |  |  |  | 4
920-9N301-00RB-NC0 | SN4700D, Spectrum-3 based 400GbE 1U Open Ethernet Switch, 32 QSFPDD ports, 48VDC Busbar, x86 CPU, standard depth, C2P airflow, Rail Kit, with Cumulus | 920-9N301-00RB-NC0 |  | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 64 | 256 | 256 | 18 |  |  |  |  | 403
920-9N42F-00RI-3C1 | NVDA SN5610 2U 64xOSFP112, 4xAC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN5610???] | 920-9N42F-00RI-3C1 | 52MJM | Switch |  | 46 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 1856
920-9N42F-00RI-KC0 | NVDA SN5600D 2U 64xOSFP112, DC BusBar, C2P (I/P) Airflow, w/ Cumulus[MSN5600D???] | 920-9N42F-00RI-KC0 | CTT0V | Switch |  | 0 | 0 | 0 | 70 | 338 | 94 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 224
920-9N62F-00LI-GC1 | SN6600-LD - NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit. | 920-9N62F-00LI-GC1 | 3KF5K | Switch |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1176 | 1528 | 6112 | 6112 | 544 |  |  |  |  | 49
980-9I042-00C000 | NVDA XCVR, 100GbE, QSFP28, LC, 1310nm, Single Mode 1-lane (DR1), IP[MMS1V70-CM] | 980-9I042-00C000 | 8XTGF | Transceiver |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1502 | 2250 | 9222 | 9222 | 654 |  |  |  |  | 636
980-9I16Y-00W000 | NVDA 400G to 4x100, QSFD-DD,MPO,1310nm SMF, up to 500m, DR4 [MMS1V00-WM] | 980-9I16Y-00W000 | NRW8Y | Transceiver |  | 48 | 32 | 24 | 0 | 0 | 0 | 0 | 16 | 16 | 67 | 89 | 2183 | 2183 | 152 |  |  |  |  | 484
980-9I30G-F4NM00 | NVDA twin port XCVR, 800GbE,2x400,IPonly,O112,2xMPO12 APC,1310N SMF,to 500m,finned HIS[MMS4X00-NM-T] | 980-9I30G-F4NM00 | YW1C0 | Transceiver |  | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 792 | 840 | 16 | 21 | 70 | 70 | 10 |  |  |  |  | 782
980-9IAJ0-00XM00 | NVIDIA twin port XCVR, 2xDR4,1600Gbps,OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, IP Only | 980-9IAJ0-00XM00 | M5G88 | Transceiver |  | 0 | 0 | 288 | 0 | 54432 | 15120 | 30240 | 0 | 0 | 84672 | 129024 | 516096 | 516096 | 27360 |  |  |  |  | 15472
A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine |  |  | Cables |  | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 22850
Aircool AC Rack |  | Aircool AC Rack |  | Other | [15 empty] | 28 | 28 | 50 | 32 | 4810
C4X6C VSR4 | Hisense 80C multi‑mode QSFP112 transceiver |  |  | Transceiver |  | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 188 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1839
CAT6 Thin 10M |  | CAT6 Thin 10M |  | Other | [15 empty] | 4048 | 4048 | 8510 | 5198 | 1373328
CAT6 Thin 3M |  | CAT6 Thin 3M |  | Other | [15 empty] | 10304 | 10304 | 21896 | 11592 | 12
Cat 6 Cable | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39 |  |  | Cables |  | 0 | 0 | 32 | 0 | 864 | 256 | 480 | 242 | 234 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 106
Corning 4x100 Breakout PP | Final Count will come from Actual BOM |  |  | Transceiver |  | 0 | 0 | 0 | 0 | 24 | 8 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 364
D3P20 | MOD,CBL,MPO12-APC,SMF,5M |  |  | Cables |  | 12 | 24 | 0 | 0 | 0 | 0 | 0 | 8 | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 16606
DLC DC Rack |  | DLC DC Rack |  | Other | [15 empty] | 48 | 24 | 52 | 36 | 42504
EDGE-03U-8B2X2G | 3U EDGE Shuffling Housing, Holds 8_2x2 Type B Modules for 128 input x 128 output ports |  |  | Rack |  | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2108
Fiber Jumper Cable |  |  |  | Cables |  | 0 | 0 | 0 | 0 | 72576 | 0 | 30240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 56
Fiber Jumper cables | Jumper cables from shiuffle box to leaf |  |  | Cables |  | 0 | 0 | 576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 52
Fiber panel T1-NtwkRack |  | Fiber panel T1-NtwkRack |  | Rack | [15 empty] | 256 |  |  |  | 124
Fiber panel per T1-NtwkRack |  | Fiber panel per T1-NtwkRack |  | Rack | [15 empty] | 8 |  |  |  | 16
Fiber shuffle cassette |  | Fiber shuffle cassette |  | Rack | [15 empty] | 4032 |  |  |  | 102816
Fiber shuffle cassette per T1-NtwkRack |  | Fiber shuffle cassette per T1-NtwkRack |  | Rack | [15 empty] | 126 |  |  |  | 576
FiberPanel | 2U Panel | FiberPanel |  | Rack |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3584 | 3584 | 0 |  |  |  |  | 256
FiberPanel - 2U | One Patch Panel to rack where SN4700 is installed since 4x100G cable length max size is 5m |  |  | Cables |  | 0 | 4 | 4 | 4 | 512 | 0 | 240 | 0 | 4 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 8
Fibre Shuffle Cassettes | Cassette /SU for Leaf Rack GPU to Leaf [Hosted in Leaf rack] - - MPO-8 4x4 Shuffle Module, 4x8f MPO/APC pinned rear to 4X8f MPO/APC pinned front | Fibre Shuffle Cassettes |  | Rack |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10584 | 16128 | 129024 | 129024 | 4536 |  |  |  |  | 4032
GEDEDU8GPN-008-U030M | 288f Trunk, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity, 8' leg length |  |  | Rack |  | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 126
IR5000 | IR5000/750mm |  |  | Rack |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 7168
IR9048 | 750mm x 1200mm/ 48RU |  |  | Rack |  | 4 | 0 | 0 | 11 | 36 | 13 | 30 | 0 | 0 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 768
IR9148 | 750mm x 1200mm/ 48RU |  |  | Rack |  | 0 | 2 | 0 | 0 | 0 | 32 | 0 | 2 | 2 | 116 | 160 | 764 | 764 | 52 |  |  |  |  | 289296
IR9149 | IR9000/750mmx1200mm/48U |  |  | Rack |  | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 64
J6TD3 | CBL-MPO12-4LC-SM-5M |  |  | Cables |  | 24 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1
JEDED08GE8-NB003M | 8f Jumper, SMF, MPO8 APC Non-pinned to MPO8 APC Non-pinned, Type B Polarity |  |  | Rack |  | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 99
LC QSFP28-100G-DR1 |  | LC QSFP28-100G-DR1 |  | Other | [15 empty] | 678 | 678 | 1412 | 788 | 1894
MFP7E10-N05 | (MPO‑12) multimode fiber cable Type‑B |  |  | Cables |  | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 40
MFP7E10-N050 | MultiMode Fiber 5 meter MPO12/APC OM4 |  |  | Cables |  | 0 | 0 | 0 | 992 | 0 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 30
MFP7E10‑N005 | MultiMode Fiber MPO12/APC OM4 Type-B - 5 meter |  |  | Cables |  | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2048
MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M |  |  | Cables |  | 0 | 0 | 8 | 24 | 88 | 208 | 7640 | 8 | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2768
MFP7E40-N050 | MPO-12/APC to 2xMPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M |  |  | Cables |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216 | 1120 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 12
MMA4Z00-NS | NVDA XCVR, 800Gbps,2xNDR, OSFP, 2xMPO12 APC, 850nm MMF, up to 50m, finned[MMA4Z00-NS] | 980-9I510-00NS00 | 70HK1 | Transceiver |  | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2480
MMA4Z00-NS-FLT | NVDA twin port XCVR,800GbE,2x400,IPonly,O112, 2xMPO12 APC,850nm MMF,to 50m,flat top RHS[MMA4Z00-NS-FLT ] | 980-9I51A-00NS00 | N72T0 | Transceiver |  | 0 | 0 | 0 | 496 | 0 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 176
MMA4Z00‑NS | NVDA XCVR, 800Gbps,2xNDR, OSFP, 2xMPO12 APC, 850nm MMF, up to 50m, finned[MMA4Z00-NS] | 980-9I510-00NS00 | 70HK1 | Transceiver |  | 0 | 0 | 0 | 496 | 0 | 744 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 7984
MMA4Z00‑NS-T | NVDA twin port XCVR, 800GbE, 2x400, IPonly,O112, 2xMPO12 APC,850nm MMF,to 50m, finned[MMA4Z00-NS-T] | 980-9I510-F4NS00 | YWX59 | Transceiver |  | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2336
MMC12/APC SMF |  | MMC12/APC SMF |  | Cables | [15 empty] | 16384 | 16384 | 34272 | 18144 | 12
MMS1V70-CM | NVDA XCVR, 100GbE, QSFP28, LC, 1310nm, Single Mode 1-lane (DR1), IP[MMS1V70-CM] | 980-9I042-00C000 | 8XTGF | Transceiver |  | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1240
MMS1X00-NS400 | NVDA XCVR400GbE, QSFP112, MPO12 APC, R4, SMF, p to 500m, Flattop (MMS1X00-NS400) | 980-9I068-00NM00 | 6YVDP | Transceiver |  | 64 | 0 | 0 | 64 | 8712 | 64 | 7260 | 640 | 192 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 1334
MMS1X00-NS400 - 6YVDP | NVDA XCVR400GbE, QSFP112, MPO12 APC, R4, SMF, p to 500m, Flattop (MMS1X00-NS400) | 980-9I068-00NM00 | 6YVDP | Transceiver |  | 192 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 88
MMS4X00-NM-T | NVDA twin port XCVR, 800GbE,2x400,IPonly,O112,2xMPO12 APC,1310N SMF,to 500m,finned HIS[MMS4X00-NM-T] | 980-9I30G-F4NM00 | YW1C0 | Transceiver |  | 1240 | 360 | 0 | 1024 | 2524 | 2320 | 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 67040
MPO OSFP112-800G-2x400G-2DR4 Twin |  | MPO OSFP112-800G-2x400G-2DR4 Twin |  | Transceiver | [15 empty] | 3148 | 3148 | 11464 | 6460 | 24
MPO OSFP224-1600G-2x800G-2DR4 Twin RHS |  | MPO OSFP224-1600G-2x800G-2DR4 Twin RHS |  | Transceiver | [15 empty] | 8064 | 8064 | 17136 | 9072 | 16996
MPO QSFP112-400G-DR4 |  | MPO QSFP112-400G-DR4 |  | Cables | [15 empty] | 4092 | 4092 | 8628 | 4760 | 384
MPO QSFP56DD-400G-DR4 |  | MPO QSFP56DD-400G-DR4 |  | Cables | [15 empty] | 200 | 200 | 398 | 230 | 9514
MPO12/APC SMF |  | MPO12/APC SMF |  | Cables | [15 empty] | 5164 | 5164 | 15748 | 8468 | 17760
MPO12/APC SMF Jumper |  | MPO12/APC SMF Jumper |  | Cables | [15 empty] | 16128 |  |  |  | 33264
MPO12/APC-2MPO12/APC SMF |  | MPO12/APC-2MPO12/APC SMF |  | Cables | [15 empty] | 30 | 30 | 30 | 112 | 16812
MPO12/APC-4LC SMF |  | MPO12/APC-4LC SMF |  | Cables | [15 empty] | 184 | 184 | 382 | 214 | 798
MPO12/APC-MMC12/APC SMF |  | MPO12/APC-MMC12/APC SMF |  | Cables | [15 empty] | 16128 | 16128 | 34272 | 18144 | 26076
NFM93 | MOD,CBL,MPO12-2MPO4,SMF,30M |  |  | Cables |  | 96 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 16128
PDU |  | PDU |  | Other | [15 empty] | 56 | 56 | 100 | 64 | 90
PDU 3Ph, 415V, 60A | 3PH, 415V, 60A, 560P6, 42 Outlet |  |  | Rack |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 750
PDU per Aircool AC Rack |  | PDU per Aircool AC Rack |  | Other | [15 empty] | 2 | 2 | 2 | 2 | 66528
PS |  | PS |  | Other | [15 empty] | 192 | 96 | 208 | 144 | 288
PS per DLC DC Rack |  | PS per DLC DC Rack |  | Other | [15 empty] | 4 | 4 | 4 | 4 | 212
SN2201 , 1U , C2P | 48 × RJ45 10/100/1000BASE‑T ports PLUS 4 × QSFP28 ports (can be used as 4×100 GbE, or broken out to lower speeds like 4×25 GbE, etc.) |  |  | Cables |  | 20 | 195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2
SN2201 AC |  | SN2201 AC |  | Other | [15 empty] | 90 | 90 | 187 | 115 | 6
SN4700 |  | SN4700 |  | Other | [15 empty] | 24 | 24 | 42 | 26 | 496
SN5610 |  | SN5610 |  | Other | [15 empty] | 86 | 86 | 230 | 134 | 12
SN6800-LD |  | SN6800-LD |  | Switch | [16 empty] | 96 | 208 | 144 | 215
SN6810-LD |  | SN6810-LD |  | Switch | [15 empty] | 384 |  |  |  | 367
Shuffle 4x4 units | CommScope |  |  | Rack |  | 0 | 0 | 144 | 0 | 18288 | 0 | 7560 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 90
T1-NtwkRack |  | T1-NtwkRack |  | Other | [15 empty] | 32 |  |  |  | 402